## Sheet1
Functional Requirement | Ergonomics/Environment | Design Parameters | Analysis | References | Risks | Countermeasures
FR1: Data Capture from Cameras | Easy access and placement for optimal field of view | High-resolution RGB cameras (e.g., Raspberry Pi cameras) | Evaluate image quality, frame rate | Datasheets, setup guides | Inconsistent image quality | Regular calibration and testing
FR2: Data Capture from Radars | Ensure proper mounting and alignment | 60GHz FMCW radar sensors (e.g., Infineon) | Assess range, accuracy, and resolution | Technical documentation | Signal interference | Shielding and frequency management
FR3: Time Synchronization | Central NTP server for synchronization | NTP server configuration, time sync scripts | Verify timestamps, time drift | Synchronization protocols | Time drift, network latency | Regular time synchronization checks
FR4: Data Storage and Logging | Ensure sufficient local storage capacity | SD cards, USB drives, local file systems | Analyze storage efficiency, retrieval speed | Storage device manuals | Data loss, corruption | Regular backups, storage health monitoring
FR5: Data Processing | Minimize processing delays | Raspberry Pi 4B, local processing scripts | Evaluate processing speed, latency | Processing algorithms, hardware specs | Overload, overheating | Thermal management, load balancing
FR6: Modular Sensor Integration | Simplify configuration changes | Modular sensor interfaces, plug-and-play sensors | Test integration workflows | Integration documentation | Integration conflicts | Standardized interfaces, thorough testing
FR7: Real-Time Monitoring | User-friendly interface for live monitoring | ZeroMQ messaging, custom monitoring dashboard | Assess usability, responsiveness | UI/UX design guidelines | Latency in data display | Optimize network, interface performance
FR8: Data Visualization | Clear, interpretable visualizations | Data visualization tools (e.g., custom tools) | Verify clarity, accuracy of visualizations | Visualization best practices | Misinterpretation of data | Training, clear documentation
FR9: System Scalability | Maintain performance with increased load | Scalable network infrastructure, ZeroMQ | Performance benchmarking | Scalability frameworks | Performance degradation | Incremental scalability testing
FR10: Reliability and Maintenance | Easy access for maintenance | Durable hardware, robust software | Reliability testing, failure mode analysis | Maintenance schedules | Hardware failures, software bugs | Redundant systems, regular updates
FR11: Easy Set Up | Easy for new reserachers to build a version to their needs | GitHub, Docker, DOCUMENTATION, Build good hardware with explainations | testing, multiple downloads, Ask new person to set it up with minimal instructions. See where they hit snaggs. |  | Version control problems. Github issues | Testing, use Docker,
FR12: Markerless MoCap | Ensure markerless mocap works well with camera system | Camera system, Theia |  |  |  | Do example experiment, real MoCap vs Markerless.
FR